## Abbreviations
keyword | alternative spelling/ longform | is_abbrv
maintenance | MS | yes
startup | starting up | no
hibernate | hibernation | no
Archive Viewer | AV | yes
False Bottom Tube | FBT | yes
Multiplexing | MPLX | yes
Instrument Gateway | IG | yes
Analytic System | AS | yes
Pooler Instrument Manager | PIM | yes
Pooling Manager | PM | yes
Check | Hook | no
Hardware | HW | yes
Firmware | FW | yes
COMIT | Labcore | no
Hardware Software Framework | HW-SW-FWK | yes
Amplification & Detection | AD | yes
Test Definition Tool | TDT | yes
Master Mix | MMx | yes
Unit Test | UT | yes
Sub System Test | SST | yes
Instrument Control | IC | yes
Central Work Area Manager | CWAM | yes
Systems Integration | SI | yes
Industrial PC | IPC | yes
Process Cell A | PCA | yes
Process Cell B | PCB | yes
Instrument Manager | IM | yes

## Key Terminology
Terminology | Description | Weightage (High/ Medium/ Low)
Abort/ Run Abort | Stoppage of the run batches | Low
Soft Stop | Stoppage induced through the software | Medium
Preparing | Instrument State | Medium
Initialization | Instrument State | Medium
StandBy | Instrument State | Low
Ready | Instrument State | Low
Running | Instrument State | Low
Pausing | Instrument State | Low
Paused | Instrument State | Low
Error | Instrument State | Low
Maintenance | Instrument State | Low
Service | Instrument State | Low
Test Order | A system identifiable logical entity for a test request | Low
Test Result | Result of a test order | Low
Monitoring | UI- View area | Low
Administration | UI- View area | Low
Routine | UI- View area | Low
Global Area | UI- View area | Low
Navigation | UI aspect | Low
Expand | UI aspect | Low
Collapse | UI aspect | Low
Grid View | UI aspect | Low
Master View | UI aspect | Low
List View | UI aspect | Low
Detail View | UI aspect | Low
Export | Action button | Low
Repeat | Action button | Low
Retest | Action button | Low
Release | UI aspect | Low
Breadcrumb | UI aspect | Low
Sample ID | Barcode | Low
Run Batch | Test execution on a group of samples by the instrument | Low
High Severity | User task type | Low
Medium Severity | User task type | Low
Low Severity | User task type | Low
High Priority | User message type | Low
Medium Priority | User message type | Low
Low Priority | User message type | Low
Min fill level | Sensor indication for an empty reagent/ container | Low
Min fill level | Sensor indication for a filled up container | Low
Dispense Clot | Clot detection | Low
Aspiration Clot | Clot detection | Low
Crash | Hardware event | Low
pick-up | Hardware action for picking up of a consumable/ tip | Low
RFID | RFID tag/ label | Low
Unresponsive | UI Behaviour | Low
Freeze | UI Behaviour | Low
Amplification plate | Component | Low
drawer | Component | Low
handler | Component | Low
transfer | System Event | Low
cassette | Component | Low
loading | System Event | Low
unloading | System Event | Low
thermal cycler | Component | Low
Analytic unit | Component | Low
Archiving | System Event | Low
settings |  | Low
schedule |  | Low
Assays | Tests | Low
Audit trail entries |  | Low
Automatic maintenance actions |  | Low
sample pipetters tightness check |  | Low
Backup |  | Low
Barcode |  | Low
mask |  | Low
masking |  | Low
barcode reading errors |  | Low
barcode settings |  | Low
label |  | Low
Bulk reagent drawer |  | Low
Callouts |  | Low
Canceling |  | Low
standalone |  | Low
Cleaning |  | Low
amplification plate drawer |  | Low
covers |  | Low
liquid waste drawer |  | Low
reagent cassette drawer |  | Low
consumable drawer |  | Low
sample supply module |  | Low
processing |  | Low
wash reagent drawer |  | Low
Codabar |  | Low
Color concept |  | Low
status light |  | Low
task overview |  | Low
Components |  | Low
processing module |  | Low
safety |  | Low
Consumables |  | Low
Control cassettes |  | Low
front cover |  | Low
Cross contamination |  | Low
Custom filter |  | Low
liquid waste |  | Low
solid waste |  | Low
Diluent |  | Low
lysis |  | Low
Decontamination |  | Low
rack |  | Low
tray |  | Low
sample supply module |  | Low
waste container |  | Low
bulk reagent |  | Low
Default filter |  | Low
Disposal |  | Low
Startup |  | Low
Electronic signature |  | Medium
Emergency stop button |  | Low
cleaning up |  | Low
restarting |  | Low
Error ouput line |  | Low
bidirectional |  | Low
standalone mode |  | Low
unidirectional mode |  | Low
Error output line |  | Low
Export files |  | Low
download |  | Low
False-bottom tubes |  | Low
Filter |  | Low
samples |  | Low
delete |  | Low
create |  | Low
Fuse |  | Low
Global information area |  | Low
task overview |  | Low
Heating station |  | High
Hibernating |  | Low
IG server |  | Low
automatic cleanup |  | Low
restart |  | Low
Input buffer |  | Low
priority input |  | Low
Input line |  | Low
loading |  | Low
priority loading |  | Low
Installation |  | Low
Instrument cleanup |  | Low
main handler |  | Low
gripper |  | Low
Instrument overview |  | Low
Interim reagent storage |  | Low
Liquid waste container |  | Low
LIS |  | Low
connection |  | Low
flags |  | Low
Load list |  | Low
Processing plates |  | Low
login |  | Low
MGP cassettes |  | Low
logout |  | Low
tip racks |  | Low
wash reagent containers |  | Low
Maintenance actions |  | Low
archiving |  | Low
backup |  | Low
interlock |  | Low
front door |  | Low
IG server restart |  | Low
instrument teaching |  | Low
movable platform |  | Low
periodic maintenance |  | Low
sample pipetters tightness check |  | Low
Maintenance intervals |  | Low
Masking/unmasking |  | Low
MGP cassette shaker |  | Low
MGP cassettes |  | Low
Operator |  | Low
qualification |  | Low
repeat test |  | Low
Output buffer |  | Low
bidirectional mode |  | Low
Output line |  | Medium
analytic module |  | Medium
processing module |  | Low
transfer module |  | Low
Park position |  | Medium
Passwords |  | Medium
Pausing |  | Medium
wizard |  | Low
protective equipment |  | Low
Photometer |  | Low
Power switch |  | Low
Powerless |  | Low
cassettes |  | Low
reagent storage |  | Low
bulk reagent |  | Low
Priming |  | Low
Priority input |  | Low
input buffer |  | Low
Problem report |  | Low
creating |  | Low
downloading |  | Low
heating stations |  | Low
processing module handler |  | Low
processing transfer head |  | Low
reagent transfer head |  | Low
sealing station |  | High
separation station |  | High
Non-reactive |  | Medium
Rack handler |  | Low
Racks for clotted tips |  | Low
prioritized loading |  | Low
Reactive |  | Medium
Reagent cassettes |  | Low
Releasing |  | Low
Repeat test |  | Medium
Audit trail |  | Medium
message |  | Low
message list |  | Medium
liquid waste container |  | Medium
Report |  | Medium
Restart |  | Low
test results |  | Low
control batch |  | Low
Run |  | Low
canceling |  | Low
automatical |  | Low
manual |  | Low
database |  | Low
Sample pipetter |  | Medium
Sample racks |  | Low
troubleshooting |  | Low
list of messages |  | Medium
starting up |  | Medium
filtering |  | Low
Screensharing |  | Medium
Screenshot |  | Low
Security settings |  | Low
Separation stations |  | High
Shutdown |  | Low
hibernate |  | Low
powerless status |  | Low
power switch |  | Low
green popup |  | Low
Software |  | Low
callout |  | Low
upgrade |  | Medium
tree |  | Low
virtual keyboard |  | Medium
update |  | Medium
Solid waste compartment |  | Medium
Solid waste container |  | Medium
Solid waste station |  | Medium
Spillage |  | Low
Start up |  | Low
Starting up |  | Low
State indicator |  | Medium
color |  | Low
reagent containers |  | Low
system |  | Low
Stop button |  | Medium
starting up |  | Low
Teach tool |  | Medium
sensor |  | Medium
RBO |  | Low
rack-based ordering |  | Low
Test orders |  | Low
defining settings |  | Low
Test result formatting |  | Low
Test result reports |  | Low
RemoteUI |  | Medium
Remote UI |  | Medium
remote user interface |  | Medium
tracking information |  | Low
Test settings |  | Low
Thermal cycler |  | High
Transfer module |  | Low
solid waste station |  | Low
transfer position |  | Medium
Unlock |  | Low
User Assistance |  | Low
User group |  | Low
User interface |  | Low
User management |  | Medium
retire |  | Low
user groups |  | Low
user roles |  | Low
Virtual keyboards |  | Medium
Warning messages |  | Low
Wash reagent containers |  | Low
bags |  | Low
containers |  | Low
empty |  | Low
replace |  | Low
Weekly maintenance |  | Low
Work area |  | Low